## Daisy Chain
Voltage Drop Calculator
| Home Run Cable | [8 empty] | LED Options |  |  | Legend
| Feet | Gauge |  |  |  | Transformer |  |  |  | # of LED's | VA | Watts Consumed
| 100 | 12 | [11 empty] | Transformer
[10 empty] | 1 | 2.4 | 2
[10 empty] | 3 | 4.5 | 4.2
[10 empty] | 6 | 9.7 | 10.1 |  | Fixture
[10 empty] | 9 | 10.7 | 11.2
| Transformer Load | [8 empty] | ZDC (Medium) | 7.2 | 6
|  | 150W | 300W | [6 empty] | ZDC (Large) | 11 | 9.1
| Voltage Tap | 15 | 15 | [6 empty] | MR16-4W | 4.3
| Total VA | 0 | 0 | [6 empty] | MR16-5W | 5.4
[10 empty] | G4-1W | 1.1
|  |  |  | Lateral Line |  |  |  | LED Option | Volts available | G4-2W | 1.7
|  |  |  | Feet | Gauge |  |  |  | at fixture
[7 empty] | A1 | 0 | 15
|  |  |  | 20 | 10
[7 empty] | A2 | 0 | 15
|  |  |  | 10 | 12
[7 empty] | A3 | 0 | 15
|  |  |  | 10 | 12
[7 empty] | A4 | 0 | 15
|  |  |  | 13 | 12
[7 empty] | A5 | 0 | 15
|  |  |  | 15 | 12
[7 empty] | A6 | 0 | 15
|  |  |  | 15 | 12
[7 empty] | A7 | 0 | 15
|  |  |  | 15 | 12
[7 empty] | A8 | 0 | 15
|  |  |  | 15 | 12
[7 empty] | A9 | 0 | 15
|  |  |  | 10 | 12
[7 empty] | A10 | 0 | 15
|  |  |  | 10 | 12
[7 empty] | A11 | 0 | 15
|  |  |  | 15 | 12
[7 empty] | A12 | 0 | 15
|  |  |  | 15 | 12
[7 empty] | A13 | 0 | 15
|  |  |  | 15 | 12
[7 empty] | A14 | 0 | 15
|  |  |  | 15 | 12
[7 empty] | A15 | 0 | 15
|  |  |  | 15 | 12
[7 empty] | A16 | 0 | 15
|  |  |  | 15 | 12
[7 empty] | A17 | 0 | 15
|  |  |  | 15 | 12
[7 empty] | A18 | 0 | 15
|  |  |  | 15 | 12
[7 empty] | A19 | 0 | 15
|  |  |  | 15 | 12
[7 empty] | A20 | 0 | 15
|  |  |  | 15 | 12
[7 empty] | A21 | 0 | 15
|  |  |  | 15 | 12
[7 empty] | A22 | 0 | 15
|  |  |  | 15 | 12
[7 empty] | A23 | 0 | 15
|  |  |  | 15 | 12
[7 empty] | A24 | 0 | 15
|  |  |  | 15 | 12
[7 empty] | A25 | 0 | 15
|  |  |  | 15 | 12
[7 empty] | A26 | 0 | 15
|  |  |  | 15 | 12
[7 empty] | A27 | 0 | 15
|  |  |  | 15 | 12
[7 empty] | A28 | 0 | 15
|  |  |  | 15 | 12
[7 empty] | A29 | 0 | 15
|  |  |  | 15 | 12
[7 empty] | A30 | 0 | 15
|  |  |  | 20 | 12
[7 empty] | A31 | 0 | 15
|  |  |  | 20 | 12
[7 empty] | A32 | 0 | 15
|  |  |  | 20 | 12
[7 empty] | A33 | 0 | 15
|  |  |  | 20 | 12
[7 empty] | A34 | 0 | 15
|  |  |  | 20 | 12
[7 empty] | A35 | 0 | 15
Enter distance between fixtures.
Select LED Option in drop-down menu of each fixture (A1, A2, A3...).
Select wire gauge size in drop-down.
View volts available at fixture. Value will appear red if volts available at fixture is too low.
Enter home run cable length.
Select wire gauge size in drop-down.
Value will appear red if Total VA is too high.

## Daisy Chain Calculation Engine (hidden)
RUN A
|  |  | Cable Constant |  |  |  | VA in | Voltage Drop | Voltage at Fixture |  | Total Watts
From | To | Cable Size |  | Distance | Diodes | VA | Cable |  |  | Watts
Trannie | A1 | 12 | 7500 | 100 | 0 | 0 | 0 | 0 | 15 | 0 | 0
A1 | A2 | 10 | 11920 | 20 | 0 | 0 | 0 | 0 | 15 | 0 | 0
A2 | A3 | 12 | 7500 | 10 | 0 | 0 | 0 | 0 | 15 | 0 | 0
A3 | A4 | 12 | 7500 | 10 | 0 | 0 | 0 | 0 | 15 | 0 | 0
A4 | A5 | 12 | 7500 | 13 | 0 | 0 | 0 | 0 | 15 | 0 | 0
A5 | A6 | 12 | 7500 | 15 | 0 | 0 | 0 | 0 | 15 | 0 | 0
A6 | A7 | 12 | 7500 | 15 | 0 | 0 | 0 | 0 | 15 | 0 | 0
A7 | A8 | 12 | 7500 | 15 | 0 | 0 | 0 | 0 | 15 | 0 | 0
A8 | A9 | 12 | 7500 | 15 | 0 | 0 | 0 | 0 | 15 | 0 | 0
A9 | A10 | 12 | 7500 | 10 | 0 | 0 | 0 | 0 | 15 | 0 | 0
A10 | A11 | 12 | 7500 | 10 | 0 | 0 | 0 | 0 | 15 | 0 | 0 |  |  | diodes | Watts
A11 | A12 | 12 | 7500 | 15 | 0 | 0 | 0 | 0 | 15 | 0 | 0 |  |  | 1 | 2
A12 | A13 | 12 | 7500 | 15 | 0 | 0 | 0 | 0 | 15 | 0 | 0 |  |  | 3 | 4.2
A13 | A14 | 12 | 7500 | 15 | 0 | 0 | 0 | 0 | 15 | 0 | 0 |  |  | 6 | 10.1
A14 | A15 | 12 | 7500 | 15 | 0 | 0 | 0 | 0 | 15 | 0 | 0 |  |  | 9 | 11.2
A15 | A16 | 12 | 7500 | 15 | 0 | 0 | 0 | 0 | 15 | 0 | 0 |  |  | ZDC (Medium) | 9.1
A16 | A17 | 12 | 7500 | 15 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | AWG | CC | ZDC (L) | 11
A17 | A18 | 12 | 7500 | 15 | 0 | 0 | 0 | 0 | 15 | 0 | 0 |  |  | 0 | 0
A18 | A19 | 12 | 7500 | 15 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 8 | 18960 | diodes | VA
A19 | A20 | 12 | 7500 | 15 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 10 | 11920 | 1 | 2.4
A20 | A21 | 12 | 7500 | 15 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 12 | 7500 | 3 | 4.5
A21 | A22 | 12 | 7500 | 15 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 14 | 3500 | 6 | 9.7
A22 | A23 | 12 | 7500 | 15 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 16 | 2200 | 9 | 10.7
A23 | A24 | 12 | 7500 | 15 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 18 | 1380 | ZDC (Medium) | 7.2
A24 | A25 | 12 | 7500 | 15 | 0 | 0 | 0 | 0 | 15 | 0 | 0 |  |  | ZDC (Large) | 11
A25 | A26 | 12 | 7500 | 15 | 0 | 0 | 0 | 0 | 15 | 0 | 0 |  |  | MR16-4W | 4.3
A26 | A27 | 12 | 7500 | 15 | 0 | 0 | 0 | 0 | 15 | 0 | 0 |  |  | MR16-5W | 5.4
A27 | A28 | 12 | 7500 | 15 | 0 | 0 | 0 | 0 | 15 | 0 | 0 |  |  | G4-1W | 1.1
A28 | A29 | 12 | 7500 | 15 | 0 | 0 | 0 | 0 | 15 | 0 | 0 |  |  | G4-2W | 1.7
A29 | A30 | 12 | 7500 | 15 | 0 | 0 | 0 | 0 | 15 | 0 | 0 |  |  | 0 | 0
A30 | A31 | 12 | 7500 | 20 | 0 | 0 | 0 | 0 | 15 | 0 | 0
A31 | A32 | 12 | 7500 | 20 | 0 | 0 | 0 | 0 | 15 | 0 | 0
A32 | A33 | 12 | 7500 | 20 | 0 | 0 | 0 | 0 | 15 | 0 | 0
A33 | A34 | 12 | 7500 | 20 | 0 | 0 | 0 | 0 | 15 | 0 | 0
A34 | A35 | 12 | 7500 | 20 | 0 | 0 | 0 | 0 | 15 | 0 | 0